## RawData
[10 empty] | Nucleocounter | [7 empty] | Bio400 (Nova) | [31 empty] | Dynamic method |  |  |  | HPLC | [79 empty] | HPLC
CHOS_71 | [5 empty] | Day | Hous | Min | Time (h) | VCD (106 cells/mL) |  |  |  | Viability (%) |  |  |  | Glucose (mM) |  |  |  | Lactate (mM) |  |  |  | Glutamine Bio (mM) |  |  |  | Glutamate Bio (mM) |  |  |  | NH4+ (mM) |  |  |  | Na+ (mM) |  |  |  | K+ (mM) |  |  |  | Osmolality (Osm/kg) |  |  |  | OUR (mmols/L·h) |  |  |  | Aspartic acid (mM) |  |  |  | Glutamic acid (mM) |  |  |  | Cysteine (mM) |  |  |  | Asparagine (mM) |  |  |  | Serine (mM) |  |  |  | Glutamine (mM) |  |  |  | Histidine (mM) |  |  |  | Glycine (mM) |  |  |  | Threonine (mM) |  |  |  | Arginine (mM) |  |  |  | Alanine (mM) |  |  |  | Tyrosine (mM) |  |  |  | Valine (mM) |  |  |  | Methionine (mM) |  |  |  | Tryptophan (mM) |  |  |  | Phenylalanine (mM) |  |  |  | Isoleucine (mM) |  |  |  | Leucine (mM) |  |  |  | Lysine (mM) |  |  |  | Proline (mM) |  |  |  | Glucose (mM) |  |  |  | Lactate (mM) |  |  |  | Succinate (mM) |  |  |  | Citric acid (mM) |  |  |  | Glycerol (mM) |  |  |  | Formate (mM) |  |  |  | Pyruvate (mM) |  |  |  | Fumarate (mM) |  |  |  | Acetate (mM)
| # Sample | Sample ID | Vbior (mL) | Glutamine add (mL) | [5 empty] | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest | EXP_1 | EXP_2 | Average | Desvest
1 | 1 | 1 | - |  | Wednesday | 1 | 17 | 0 | 0 | 0.165 | 0.158 | 0.1615 | 0.0049497 | 100 | 99.7 | 99.85 | 0.21213 | 24.4 | 26.1 | - | 1.2021 |  |  |  |  | 4.49 | 4.19 | 4.34 | 0.21213 | 1.32 | 1.34 | 1.33 | 0.014142 | 0.44 | 0.43 | 0.435 | 0.0070711 | 107 | 107 | 107 | 0 | 5.4 | 5.4 | 5.4 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
2 | 2 | 2 | - |  | Wednesday | 1 | 20 | 40 | 3.6667 | 0.268 | 0.275 | 0.2715 | 0.0049497 | 99.5 | 99.8 | 99.65 | 0.21213 | 27.5 | 28.1 | - | 0.42426 |  |  |  |  | 4.67 | 4.78 | 4.725 | 0.077782 | 1.39 | 1.35 | 1.37 | 0.028284 | 0.56 | 0.55 | 0.555 | 0.0070711 | 104 | 105 | 104.5 | 0.70711 | 5.3 | 5.3 | 5.3 | 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
3 | 3 | 25_7 | 258 |  | Thursday | 2 | 7 | 5 | 14.0833 | 0.443 | 0.426 | 0.4345 | 0.012021 | 99.7 | 99.4 | 99.55 | 0.21213 | 27.1 | 27 | - | 0.070711 |  |  |  |  | 4.47 | 4.63 | 4.55 | 0.11314 | 1.39 | 1.46 | 1.425 | 0.049497 | 0.91 | 0.92 | 0.915 | 0.0070711 | 105 | 105 | 105 | 0 | 5.4 | 5.4 | 5.4 | 0 | - | - | - | - | 0.048437 | 0.03291 | 0.040674 | 0.010979 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
4 | 4 | 25_14 | 254 |  | Thursday | 2 | 13 | 55 | 20.9167 | 0.558 | 0.531 | 0.5445 | 0.019092 | 99.6 | 99.8 | 99.7 | 0.14142 | 23.8 | 25 | 24.4 | 0.84853 | 2.5 | 2.6 | 2.55 | 0.070711 | 4.04 | 4.07 | 4.055 | 0.021213 | 1.39 | 1.47 | 1.43 | 0.056569 | 1.2 | 1.2 | 1.2 | 0 | 105 | 105 | 105 | 0 | 5.4 | 5.5 | 5.45 | 0.070711 | 293.9 | 295.4 | 294.65 | 1.0607 | 0.081885 | 0.04248 | 0.062183 | 0.027863 | 0.94558 | - | 0.94558 | 0 | 1.085 | - | 1.085 | 0 | 0.44973 | - | 0.44973 | 0 | 2.9604 | - | 2.9604 | 0 | 2.7526 | - | 2.7526 | 0 | 3.7951 | - | 3.7951 | 0 | 0.59797 | - | 0.59797 | 0 | 0.28388 | - | 0.28388 | 0 | 1.5249 | - | 1.5249 | 0 | 1.1806 | - | 1.1806 | 0 | 0.32302 | - | 0.32302 | 0 | 0.53443 | - | 0.53443 | 0 | 1.7782 | - | 1.7782 | 0 | 0.66453 | - | 0.66453 | 0 | 0.70616 | - | 0.70616 | 0 | 0.79212 | - | 0.79212 | 0 | 1.9167 | - | 1.9167 | 0 | 2.485 | - | 2.485 | 0 | 1.6802 | - | 1.6802 | 0 | 2.0344 | - | 2.0344 | 0 | 21.1644 | 21.4581 | 21.3113 | 0.20763 | 3.6257 | 4.5138 | 4.0697 | 0.62798 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36161 | 0.3353 | 0.34846 | 0.018601 | 0 | 0 | 0 | 0 | 0.53713 | 0.48035 | 0.50874 | 0.040149 | 0.30327 | 0.31619 | 0.30973 | 0.0091381 | 0.26421 | 0.54028 | 0.40224 | 0.19521
5 | 5 | 25_22 | 250 |  | Thursday | 2 | 21 | 45 | 28.75 | 0.801 | 0.734 | 0.7675 | 0.047376 | 99.6 | 99.6 | 99.6 | 0 | 24 | 24.1 | 24.05 | 0.070711 | 5 | 4.9 | 4.95 | 0.070711 | 3.79 | 3.83 | 3.81 | 0.028284 | 1.41 | 1.49 | 1.45 | 0.056569 | 1.57 | 1.58 | 1.575 | 0.0070711 | 105 | 105 | 105 | 0 | 5.4 | 5.5 | 5.45 | 0.070711 | 297.3 | 297.5 | 297.4 | 0.14142 | 0.10176 | 0.063574 | 0.082666 | 0.027 | 0.90291 | 0.99131 | 0.94711 | 0.062508 | 1.1054 | 1.161 | 1.1332 | 0.039273 | 0.40965 | 0.42268 | 0.41617 | 0.0092149 | 2.7257 | 2.8974 | 2.8115 | 0.12137 | 2.5588 | 2.6663 | 2.6125 | 0.075957 | 3.3211 | 3.6257 | 3.4734 | 0.21544 | 0.56339 | 0.59181 | 0.5776 | 0.0201 | 0.30908 | 0.31074 | 0.30991 | 0.0011799 | 1.4417 | 1.531 | 1.4864 | 0.063174 | 1.1128 | 1.1516 | 1.1322 | 0.027435 | 0.39111 | 0.41523 | 0.40317 | 0.017054 | 0.51056 | 0.52757 | 0.51907 | 0.012028 | 1.6818 | 1.7952 | 1.7385 | 0.080132 | 0.62805 | 0.6517 | 0.63987 | 0.016724 | 0.67854 | 0.67914 | 0.67884 | 0.00042542 | 0.74562 | 0.78234 | 0.76398 | 0.025969 | 1.8135 | 1.9259 | 1.8697 | 0.07946 | 2.3537 | 2.4542 | 2.4039 | 0.071058 | 1.5878 | 1.6083 | 1.5981 | 0.014485 | 1.9354 | 1.8756 | 1.9055 | 0.042295 | 21.4187 | 19.9694 | 20.694 | 1.0248 | 4.8857 | 4.5881 | 4.7369 | 0.21037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.40015 | 0.71099 | 0.55557 | 0.2198 | 0.24549 | 0.20639 | 0.22594 | 0.027651 | 0.47468 | 0.47354 | 0.47411 | 0.00080298 | - | 0.30068 | 0.30068 | #DIV/0! | 0.51826 | 0.293 | 0.40563 | 0.15928
6 | 6 | 26_6 | 246 |  | Friday | 3 | 6 | 5 | 37.0833 | 1.06 | 1.17 | 1.115 | 0.077782 | 99.8 | 98.8 | 99.3 | 0.70711 | 22.9 | 23.4 | 23.15 | 0.35355 | 8 | 7.5 | 7.75 | 0.35355 | 3.48 | 3.61 | 3.545 | 0.091924 | 1.5 | 1.48 | 1.49 | 0.014142 | 2.05 | 2.03 | 2.04 | 0.014142 | 105 | 106 | 105.5 | 0.70711 | 5.5 | 5.5 | 5.5 | 0 | 300.2 | 302.1 | 301.15 | 1.3435 | 0.12744 | 0.09541 | 0.11143 | 0.02265 | 1.1115 | 1.0081 | 1.0598 | 0.073092 | 1.2859 | 1.2143 | 1.2501 | 0.05059 | 0.40566 | 0.35197 | 0.37882 | 0.037963 | 2.7922 | 2.7045 | 2.7484 | 0.062055 | 2.6749 | 2.5514 | 2.6131 | 0.087368 | 3.1692 | 3.181 | 3.1751 | 0.0083506 | 0.60155 | 0.57099 | 0.58627 | 0.02161 | 0.38753 | 0.36134 | 0.37444 | 0.018522 | 1.5499 | 1.4806 | 1.5153 | 0.049022 | 1.1774 | 1.1167 | 1.1471 | 0.042901 | 0.56833 | 0.54933 | 0.55883 | 0.013434 | 0.54027 | 0.52448 | 0.53237 | 0.011159 | 1.7892 | 1.7245 | 1.7568 | 0.04573 | 0.66694 | 0.63133 | 0.64914 | 0.02518 | 0.72655 | 0.65892 | 0.69273 | 0.047821 | 0.79361 | 0.75677 | 0.77519 | 0.026055 | 1.9428 | 1.8626 | 1.9027 | 0.056644 | 2.5034 | 2.3777 | 2.4406 | 0.088889 | 1.7016 | 1.6105 | 1.656 | 0.064416 | 2.0994 | 1.9536 | 2.0265 | 0.10307 | - | 15.8685 | 15.8685 | - | 6.0724 | 6.6907 | 6.3815 | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.59552 | 0.6692 | 0.63236 | 0.052104 | - | 0.24115 | 0.24115 | - | 0.14649 | 0.22825 | 0.18737 | 0.057815 | - | 0.19988 | 0.19988 | #DIV/0! | - | - | - | -
7 | 7 | 26_12 | 242 |  | Friday | 3 | 12 | 0 | 43 | 1.61 | 1.71 | 1.66 | 0.070711 | 100 | 99.7 | 99.85 | 0.21213 | 23.2 | 23.6 | 23.4 | 0.28284 | 10.3 | 10.2 | 10.25 | 0.070711 | 3.62 | 3.79 | 3.705 | 0.12021 | 1.59 | 1.61 | 1.6 | 0.014142 | 2.4 | 2.39 | 2.395 | 0.0070711 | 105 | 106 | 105.5 | 0.70711 | 5.4 | 5.5 | 5.45 | 0.070711 | 303.3 | 305.6 | 304.45 | 1.6263 | 0.14824 | 0.10518 | 0.12671 | 0.030453 | 1.153 | 0.99467 | 1.0738 | 0.11194 | 1.3139 | 1.2672 | 1.2905 | 0.032982 | 0.37484 | 0.3853 | 0.38007 | 0.0073988 | 2.5571 | 2.5558 | 2.5565 | 0.00090549 | 2.5071 | 2.4596 | 2.4834 | 0.033543 | 2.7221 | 2.8282 | 2.7752 | 0.075041 | 0.57644 | 0.5589 | 0.56767 | 0.012401 | 0.41685 | 0.40123 | 0.40904 | 0.011044 | 1.4891 | 1.4632 | 1.4761 | 0.018342 | 1.1219 | 1.0921 | 1.107 | 0.021101 | 0.69103 | 0.684 | 0.68751 | 0.0049743 | 0.50739 | 0.50118 | 0.50428 | 0.0043876 | 1.7218 | 1.688 | 1.7049 | 0.023882 | 0.63958 | 0.60609 | 0.62284 | 0.023684 | 0.68197 | 0.66168 | 0.67182 | 0.014349 | 0.75673 | 0.7396 | 0.74817 | 0.012109 | 1.8681 | 1.8394 | 1.8538 | 0.020336 | 2.4013 | 2.3413 | 2.3713 | 0.042456 | 1.6242 | 1.5859 | 1.6051 | 0.027072 | 2.0073 | 1.9792 | 1.9933 | 0.019901 | 16.7 | 19.7901 | 18.245 | 2.185 | 7.5178 | 7.9929 | 7.7553 | 0.33597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0444 | 0.86288 | 0.95364 | 0.12836 | 0.30849 | 0.44536 | 0.37693 | 0.09678 | 0.30774 | 0.32932 | 0.31853 | 0.015257 | 0.28862 | - | 0.28862 | - | 0.46237 | 0.2659 | 0.36414 | 0.13892
8 | 8 | 26_18 | 239.8 | 1.8 | Friday | 3 | 18 | 5 | 49.0833 | 1.87 | 2.03 | 1.95 | 0.11314 | 99.8 | 99.6 | 99.7 | 0.14142 | 20.9 | 21.3 | 21.1 | 0.28284 | 11.7 | 11.8 | 11.75 | 0.070711 | 4.28 | 4.56 | 4.42 | 0.19799 | 1.75 | 1.65 | 1.7 | 0.070711 | 2.81 | 2.77 | 2.79 | 0.028284 | 105 | 106 | 105.5 | 0.70711 | 5.4 | 5.4 | 5.4 | 0 | 303.2 | 305.5 | 304.35 | 1.6263 | 0.12988 | 0.15205 | 0.14097 | 0.015675 | 1.1884 | 1.1832 | 1.1858 | 0.0036787 | 1.3174 | 1.3215 | 1.3195 | 0.0028935 | 0.32883 | 0.32109 | 0.32496 | 0.0054726 | 2.2663 | 2.3557 | 2.311 | 0.063173 | 2.296 | 2.3851 | 2.3405 | 0.063008 | 4.3398 | 5.2059 | 4.7729 | 0.61242 | 0.54328 | 0.56276 | 0.55302 | 0.013771 | 0.4492 | 0.45732 | 0.45326 | 0.0057399 | 1.3982 | 1.4387 | 1.4185 | 0.028596 | 1.041 | 1.0683 | 1.0547 | 0.019303 | 0.83706 | 0.86309 | 0.85007 | 0.018409 | 0.47652 | 0.48116 | 0.47884 | 0.0032841 | 1.6141 | 1.6616 | 1.6378 | 0.033571 | 0.59615 | 0.61624 | 0.6062 | 0.014208 | 0.64549 | 0.65574 | 0.65061 | 0.007247 | 0.70517 | 0.72255 | 0.71386 | 0.012286 | 1.7681 | 1.8088 | 1.7885 | 0.028778 | 2.2562 | 2.3146 | 2.2854 | 0.041296 | 1.517 | 1.581 | 1.549 | 0.045249 | 1.9292 | 1.9203 | 1.9248 | 0.0062972 | 17.1623 | 18.7904 | 17.9764 | 1.1512 | 9.7502 | 9.3694 | 9.5598 | 0.26925 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1453 | 1.0794 | 1.1124 | 0.04665 | 1.0667 | 0.52357 | 0.79513 | 0.38405 | 0.22939 | 0.23393 | 0.23166 | 0.0032119 | 0.34462 | 0.27397 | 0.3093 | 0.049955 | - | 0.54028 | 0.54028 | -
9 | 9 | 26_24 | 234 |  | Friday | 3 | 23 | 20 | 54.3333 | 2.56 | 2.86 | 2.71 | 0.21213 | 99.9 | 99.7 | 99.8 | 0.14142 | 19.1 | 20.1 | 19.6 | 0.70711 | 13.2 | 12.9 | 13.05 | 0.21213 | 3.68 | 3.88 | 3.78 | 0.14142 | 1.62 | 1.58 | 1.6 | 0.028284 | 3.21 | 3.2 | 3.205 | 0.0070711 | 105 | 106 | 105.5 | 0.70711 | 5.3 | 5.4 | 5.35 | 0.070711 | 303.4 | 306.2 | 304.8 | 1.9799 | 0.20547 | 0.19727 | 0.20137 | 0.0058005 | 1.267 | 1.1039 | 1.1855 | 0.11533 | 1.4044 | 1.355 | 1.3797 | 0.034955 | 0.30917 | 0.2902 | 0.29968 | 0.013414 | 2.1272 | 2.1446 | 2.1359 | 0.012286 | 2.2395 | 2.2468 | 2.2431 | 0.0051716 | 3.3853 | 3.5241 | 3.4547 | 0.098206 | 0.54273 | 0.53575 | 0.53924 | 0.0049379 | 0.49848 | 0.48045 | 0.48946 | 0.012748 | 1.4006 | 1.3829 | 1.3918 | 0.012532 | 1.0264 | 1.0222 | 1.0243 | 0.0029715 | 1.0594 | 1.0454 | 1.0524 | 0.0098797 | 0.46125 | 0.46453 | 0.46289 | 0.002319 | 1.6126 | 1.5988 | 1.6057 | 0.00978 | 0.59477 | 0.59102 | 0.5929 | 0.0026565 | 0.66145 | 0.64479 | 0.65312 | 0.011779 | 0.69749 | 0.6919 | 0.6947 | 0.003952 | 1.7811 | 1.7591 | 1.7701 | 0.015563 | 2.2581 | 2.2327 | 2.2454 | 0.017918 | 1.5025 | 1.5079 | 1.5052 | 0.0038576 | 1.922 | 1.9031 | 1.9125 | 0.013376 | 17.3378 | 18.0532 | 17.6955 | 0.50593 | 12.4045 | 12.0682 | 12.2363 | 0.23785 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4929 | 1.4572 | 1.4751 | - | 0.54747 | 0.61916 | 0.58332 | 0.050694 | 0.38837 | 0.27254 | 0.33046 | 0.081904 | 0.26708 | - | 0.26708 | - | 0.54366 | 0.60125 | 0.57245 | 0.040718
10 | 10 | 27_6 | 230 |  | Saturday | 4 | 6 | 10 | 61.1667 | 3.13 | 3.48 | 3.305 | 0.24749 | 99.8 | 99.6 | 99.7 | 0.14142 | 17.2 | 17.5 | 17.35 | 0.21213 | 15.8 | 15.1 | 15.45 | 0.49497 | 3.21 | 3.29 | 3.25 | 0.056569 | 1.52 | 1.62 | 1.57 | 0.070711 | 3.85 | 3.81 | 3.83 | 0.028284 | 105 | 107 | 106 | 1.4142 | 5.3 | 5.3 | 5.3 | 0 | 305.3 | 308.6 | 306.95 | 2.3335 | 0.28623 | 0.24766 | 0.26694 | 0.027276 | 1.2003 | 1.1594 | 1.1798 | 0.028941 | 1.4382 | 1.4209 | 1.4296 | 0.012229 | 0.2569 | 0.25784 | 0.25737 | 0.00067104 | 1.7463 | 1.8226 | 1.7844 | 0.053926 | 1.9853 | 2.0615 | 2.0234 | 0.053859 | 2.5482 | 2.7831 | 2.6656 | 0.16613 | 0.49543 | 0.50198 | 0.49871 | 0.0046342 | 0.53327 | 0.52314 | 0.5282 | 0.0071641 | 1.2956 | 1.3218 | 1.3087 | 0.018545 | 0.92839 | 0.95042 | 0.9394 | 0.015578 | 1.3551 | 1.3618 | 1.3585 | 0.0047585 | 0.41144 | 0.41986 | 0.41565 | 0.0059502 | 1.4904 | 1.5083 | 1.4994 | 0.012615 | 0.54973 | 0.53866 | 0.5442 | 0.0078273 | 0.6338 | 0.62662 | 0.63021 | 0.0050772 | 0.63525 | 0.64765 | 0.64145 | 0.0087644 | 1.6715 | 1.698 | 1.6847 | 0.018724 | 2.0961 | 2.1357 | 2.1159 | 0.028013 | 1.3784 | 1.4215 | 1.4 | 0.03047 | 1.828 | 1.8266 | 1.8273 | 0.0010394 | 15.697 | 16.851 | 16.274 | 0.816 | 15.585 | 14.7313 | 15.1582 | 0.60365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8809 | 1.7813 | 1.8311 | 0.070414 | 0.65392 | 0.77993 | 0.71692 | 0.089099 | 0.42925 | 0.38269 | 0.40597 | 0.032922 | - | 0.19385 | 0.19385 | #DIV/0! | 0.5606 | 0.56399 | 0.56229 | 0.0023952
11 | 11 | 27_12 | 226 |  | Saturday | 4 | 12 | 0 | 67 | 3.86 | 3.6 | 3.73 | 0.18385 | 99.8 | 99.7 | 99.75 | 0.070711 | 14.8 | 15.8 | 15.3 | 0.70711 | 17.7 | 17.5 | 17.6 | 0.14142 | 2.65 | 3.03 | 2.84 | 0.2687 | 1.86 | 1.81 | 1.835 | 0.035355 | 4.36 | 4.36 | 4.36 | 0 | 105 | 106 | 105.5 | 0.70711 | 5.1 | 5.2 | 5.15 | 0.070711 | 305.4 | 308.2 | 306.8 | 1.9799 | 0.25322 | 0.25488 | 0.25405 | 0.0011739 | 1.3084 | 1.2261 | 1.2673 | 0.058135 | 1.5779 | 1.4604 | 1.5191 | 0.083135 | 0.22392 | 0.21693 | 0.22043 | 0.0049473 | 1.4603 | 1.4673 | 1.4638 | 0.0049544 | 1.873 | 1.8502 | 1.8616 | 0.01612 | 1.8884 | 2.0188 | 1.9536 | 0.092185 | 0.49251 | 0.46771 | 0.48011 | 0.017533 | 0.61248 | 0.56938 | 0.59093 | 0.030474 | 1.2889 | 1.2313 | 1.2601 | 0.040686 | 0.89352 | 0.86004 | 0.87678 | 0.023672 | 1.827 | 1.6984 | 1.7627 | 0.09093 | 0.39235 | 0.37769 | 0.38502 | 0.010365 | 1.4711 | 1.4225 | 1.4468 | 0.034427 | 0.54636 | 0.52702 | 0.53669 | 0.013672 | 0.65288 | 0.61863 | 0.63576 | 0.024217 | 0.61465 | 0.59157 | 0.60311 | 0.016321 | 1.6806 | 1.6063 | 1.6435 | 0.052496 | 2.0873 | 1.9916 | 2.0394 | 0.067677 | 1.3497 | 1.3054 | 1.3276 | 0.031305 | 1.8458 | 1.7334 | 1.7896 | 0.079459 | 14.0983 | 14.7839 | 14.4411 | 0.48473 | 17.4412 | 16.6685 | 17.0548 | 0.54634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1421 | 2.019 | 2.0805 | 0.087046 | 0.81469 | 0.86465 | 0.83967 | 0.035332 | 0.49512 | 0.43266 | 0.46389 | 0.044164 | - | - | - | - | 0.3743 | 0.60125 | 0.48777 | 0.16048
12 | 12 | 27_18 | 225 | 3 | Saturday | 4 | 17 | 40 | 72.6667 | 4.46 | 4.54 | 4.5 | 0.056569 | 99.7 | 99.6 | 99.65 | 0.070711 | 12.4 | 13.4 | 12.9 | 0.70711 | 19.1 | 19 | 19.05 | 0.070711 | 4.89 | 5.04 | 4.965 | 0.10607 | 1.88 | 1.75 | 1.815 | 0.091924 | 4.96 | 4.96 | 4.96 | 0 | 106 | 106 | 106 | 0 | 5 | 5 | 5 | 0 | 307.2 | 308.1 | 307.65 | 0.6364 | 0.30029 | 0.29717 | 0.29873 | 0.0022097 | 1.2943 | 1.1594 | 1.2269 | 0.095379 | 1.5857 | 1.5562 | 1.571 | 0.020883 | 0.16301 | 0.16116 | 0.16208 | 0.0013061 | 0.98616 | 1.0972 | 1.0417 | 0.078533 | 1.5652 | 1.6583 | 1.6118 | 0.065877 | 4.8261 | 4.8341 | 4.8301 | 0.0056106 | 0.43799 | 0.44914 | 0.44357 | 0.0078779 | 0.64915 | 0.62328 | 0.63622 | 0.018291 | 1.137 | 1.1612 | 1.1491 | 0.017133 | 0.76595 | 0.78752 | 0.77674 | 0.015246 | 2.4009 | 2.291 | 2.3459 | 0.077701 | 0.33162 | 0.34301 | 0.33731 | 0.008054 | 1.3002 | 1.3326 | 1.3164 | 0.022913 | 0.4862 | 0.49752 | 0.49186 | 0.0080015 | 0.60025 | 0.61294 | 0.6066 | 0.0089753 | 0.53113 | 0.54828 | 0.5397 | 0.012121 | 1.5147 | 1.5469 | 1.5308 | 0.022792 | 1.8506 | 1.8923 | 1.8715 | 0.02948 | 1.1749 | 1.2269 | 1.2009 | 0.036754 | 1.6826 | 1.7189 | 1.7007 | 0.025639 | 11.5705 | 12.1578 | 11.8642 | 0.41526 | 18.7955 | 16.8406 | 17.8181 | 1.3823 | 0 | 0 | 0 | 0 | 0.072349 | 0.067144 | 0.069747 | 0.0036805 | 2.3844 | 2.1773 | 2.2809 | 0.14646 | 0.97328 | 1.0015 | 0.9874 | 0.01997 | 0.33273 | 0.45424 | 0.39348 | 0.085919 | 0.18868 | 0.19126 | 0.18997 | 0.0018276 | 0.63681 | 0.61141 | 0.62411 | 0.017964
13 | 13 | 27_24 | 218 |  | Sunday | 4 | 22 | 20 | 77.3333 | 5.42 | 5.01 | 5.215 | 0.28991 | 99.6 | 99.7 | 99.65 | 0.070711 | 10.8 | 11.3 | 11.05 | 0.35355 | 20.1 | 20.2 | 20.15 | 0.070711 | 3.63 | 4.07 | 3.85 | 0.31113 | 1.88 | 1.83 | 1.855 | 0.035355 | 5.58 | 5.56 | 5.57 | 0.014142 | 105 | 107 | 106 | 1.4142 | 5 | 5 | 5 | 0 | 305.9 | 310.2 | 308.05 | 3.0406 | 0.36973 | 0.33213 | 0.35093 | 0.026586 | 1.4634 | 1.2635 | 1.3635 | 0.1414 | 1.7094 | 1.6384 | 1.6739 | 0.05023 | 0.13815 | 0.13285 | 0.1355 | 0.0037422 | 0.71959 | 0.80968 | 0.76463 | 0.063708 | 1.4131 | 1.481 | 1.447 | 0.048067 | 2.6307 | 2.9201 | 2.7754 | 0.20462 | 0.41555 | 0.42445 | 0.42 | 0.0062912 | 0.70624 | 0.66639 | 0.68632 | 0.028177 | 1.0929 | 1.0855 | 1.0892 | 0.0051787 | 0.70743 | 0.7169 | 0.71217 | 0.0066978 | 3.2731 | 3.028 | 3.1505 | 0.17332 | 0.30079 | 0.3066 | 0.30369 | 0.0041113 | 1.2366 | 1.2513 | 1.244 | 0.010412 | 0.46182 | 0.47517 | 0.46849 | 0.0094393 | 0.59534 | 0.59516 | 0.59525 | 0.00012898 | 0.49581 | 0.5027 | 0.49925 | 0.0048677 | 1.467 | 1.478 | 1.4725 | 0.0077856 | 1.7786 | 1.7817 | 1.7801 | 0.0021487 | 1.111 | 1.1523 | 1.1316 | 0.029197 | 1.6707 | 1.6044 | 1.6375 | 0.046932 | 9.907 | 9.7704 | 9.8387 | 0.096554 | 19.5992 | 19.9789 | 19.7891 | 0.26846 | 0 | 0 | 0 | 0 | 0.09473 | 0.082239 | 0.088485 | 0.0088331 | 2.4828 | 2.5168 | 2.4998 | 0.024064 | 1.6815 | 2.0182 | 1.8499 | 0.23811 | 0.48603 | 0.44515 | 0.46559 | 0.028907 | 0.18523 | - | 0.18523 | - | 0.91118 | 1.2889 | 1.1 | 0.26706
14 | 14 | 28_6 | 217 | 3 | Sunday | 5 | 5 | 10 | 84.1667 | 5.69 | 6.07 | 5.88 | 0.2687 | 99.8 | 99.8 | 99.8 | 0 | 7.7 | 8.8 | 8.25 | 0.77782 | 21.1 | 21.6 | 21.35 | 0.35355 | 1.46 | 2.14 | 1.8 | 0.48083 | 1.9 | 1.84 | 1.87 | 0.042426 | 6.39 | 6.46 | 6.425 | 0.049497 | 105 | 106 | 105.5 | 0.70711 | 4.9 | 5 | 4.95 | 0.070711 | 305.1 | 308.9 | 307 | 2.687 | 0.50117 | 0.5084 | 0.50479 | 0.00511 | 1.4673 | 1.4893 | 1.4783 | 0.015609 | 1.8899 | 1.8469 | 1.8684 | 0.030382 | 0.092325 | 0.092629 | 0.092477 | 0.00021508 | 0.3636 | 0.42718 | 0.39539 | 0.044953 | 1.149 | 1.2537 | 1.2013 | 0.074024 | 0.96713 | 1.3041 | 1.1356 | 0.23828 | 0.37933 | 0.39161 | 0.38547 | 0.0086866 | 0.82707 | 0.78147 | 0.80427 | 0.032243 | 1.0066 | 1.0238 | 1.0152 | 0.012181 | 0.6144 | 0.63409 | 0.62425 | 0.013925 | 4.8437 | 4.6117 | 4.7277 | 0.16401 | 0.25357 | 0.26455 | 0.25906 | 0.0077692 | 1.1318 | 1.1664 | 1.1491 | 0.024472 | 0.425 | 0.44715 | 0.43608 | 0.015663 | 0.5849 | 0.58791 | 0.58641 | 0.0021251 | 0.43623 | 0.45171 | 0.44397 | 0.010947 | 1.3849 | 1.4185 | 1.4017 | 0.023755 | 1.6319 | 1.6697 | 1.6508 | 0.026738 | 0.99019 | 1.0468 | 1.0185 | 0.040062 | 1.6258 | 1.5917 | 1.6088 | 0.024073 | 7.2315 | 8.093 | 7.6622 | 0.60916 | 18.7411 | 19.2229 | 18.982 | 0.34068 | 0 | 0 | 0 | 0 | 0.13949 | 0.13585 | 0.13767 | 0.0025763 | 2.5262 | 2.561 | 2.5436 | 0.024565 | 1.3296 | 1.3448 | 1.3372 | 0.010753 | 0.45083 | 0.45991 | 0.45537 | 0.0064239 | 0.19471 | - | 0.19471 | - | 0.65375 | 0.42849 | 0.54112 | 0.15928
15 | 15 | 28_12 | 210 |  | Sunday | 5 | 12 | 10 | 91.1667 | 6.87 | 7.02 | 6.945 | 0.10607 | 99.4 | 99.5 | 99.45 | 0.070711 | 5.6 | 5.9 | 5.75 | 0.21213 | 21 | 21.1 | 21.05 | 0.070711 | 3.63 | 4.1 | 3.865 | 0.33234 | 2.15 | 2.02 | 2.085 | 0.091924 | 7.03 | 7.14 | 7.085 | 0.077782 | 106 | 108 | 107 | 1.4142 | 4.9 | 4.9 | 4.9 | 0 | 305.9 | 310.3 | 308.1 | 3.1113 | 0.48076 | 0.46689 | 0.47383 | 0.0098056 | 1.5602 | 1.3946 | 1.4774 | 0.11708 | 2.1049 | 1.9486 | 2.0268 | 0.11051 | 0.060119 | 0.058602 | 0.059361 | 0.001073 | 0.18461 | 0.20844 | 0.19652 | 0.016847 | 0.90938 | 0.96383 | 0.93661 | 0.038503 | 2.3486 | 3.0569 | 2.7027 | 0.5008 | 0.34241 | 0.33774 | 0.34007 | 0.0033002 | 0.99234 | 0.8823 | 0.93732 | 0.077816 | 0.91114 | 0.88675 | 0.89894 | 0.017249 | 0.52773 | 0.51959 | 0.52366 | 0.0057555 | 6.7693 | 6.2669 | 6.5181 | 0.35528 | 0.20877 | 0.20697 | 0.20787 | 0.0012797 | 1.0228 | 1.001 | 1.0119 | 0.015443 | 0.38879 | 0.38428 | 0.38653 | 0.0031914 | 0.56445 | 0.54304 | 0.55375 | 0.015138 | 0.37863 | 0.37315 | 0.37589 | 0.0038744 | 1.2859 | 1.2508 | 1.2683 | 0.024831 | 1.4857 | 1.4445 | 1.4651 | 0.029143 | 0.87872 | 0.87365 | 0.87619 | 0.003582 | 1.5214 | 1.4627 | 1.4921 | 0.041506 | 5.1 | 5.6235 | 5.3617 | 0.37012 | 17.9418 | 18.7789 | 18.3603 | 0.59187 | 0 | 0 | 0 | 0 | 0.18113 | 0.17437 | 0.17775 | 0.0047846 | 2.5967 | 2.5536 | 2.5752 | 0.030457 | 1.5294 | 1.5229 | 1.5262 | 0.0046086 | 0.40654 | 0.41903 | 0.41279 | 0.0088328 | 0.20763 | 0.1904 | 0.19902 | 0.012184 | 0.67746 | 0.45559 | 0.56653 | 0.15688
16 | 16 | 28_18 | 211 | 5 | Sunday | 5 | 17 | 20 | 96.3333 | 7.1 | 7.07 | 7.085 | 0.021213 | 99.7 | 99.7 | 99.7 | 0 | 4.1 | 4.8 | 4.45 | 0.49497 | 20 | 20.4 | 20.2 | 0.28284 | 0.91 | 1.5 | 1.205 | 0.41719 | 2.36 | 2.23 | 2.295 | 0.091924 | 7.23 | 7.46 | 7.345 | 0.16263 | 104 | 106 | 105 | 1.4142 | 5 | 5 | 5 | 0 | 300.3 | 305.5 | 302.9 | 3.677 | 0.54414 | 0.49365 | 0.5189 | 0.035701 | 1.6902 | 1.5229 | 1.6066 | 0.11835 | 2.2632 | 2.1469 | 2.2051 | 0.082261 | 0.047221 | 0.047695 | 0.047458 | 0.00033465 | 0.13731 | 0.14923 | 0.14327 | 0.0084253 | 0.75599 | 0.83891 | 0.79745 | 0.058631 | 0.67115 | 0.9514 | 0.81128 | 0.19817 | 0.32753 | 0.32854 | 0.32804 | 0.00071924 | 1.1536 | 1.0616 | 1.1076 | 0.065071 | 0.88303 | 0.86492 | 0.87398 | 0.012803 | 0.49508 | 0.49448 | 0.49478 | 0.00041843 | 7.914 | 7.5863 | 7.7501 | 0.2317 | 0.19179 | 0.19321 | 0.1925 | 0.0010003 | 0.97822 | 0.9773 | 0.97776 | 0.0006534 | 0.37787 | 0.3851 | 0.38148 | 0.0051062 | 0.55658 | 0.55077 | 0.55367 | 0.0041037 | 0.35567 | 0.35673 | 0.3562 | 0.00075177 | 1.2455 | 1.2352 | 1.2403 | 0.0072335 | 1.4219 | 1.4142 | 1.418 | 0.0054262 | 0.83214 | 0.84361 | 0.83787 | 0.0081095 | 1.4976 | 1.4913 | 1.4944 | 0.0044346 | 4.0093 | 4.4545 | 4.2319 | 0.31478 | 16.2311 | 17.1614 | 16.6963 | 0.65781 | 0 | 0 | 0 | 0 | 0.21913 | 0.2134 | 0.21627 | 0.0040485 | 2.5315 | 2.6603 | 2.5959 | 0.0911 | 2.292 | 1.675 | 1.9835 | 0.43628 | 0.4179 | 0.39064 | 0.40427 | 0.019272 | 0.19299 | 0.18437 | 0.18868 | 0.0060921 | 1.0264 | 0.50132 | 0.76384 | 0.37125
17 | 17 | 28_24 | 202 |  | Sunday | 5 | 23 | 15 | 102.25 | 7.32 | 7.22 | 7.27 | 0.070711 | 99.4 | 99.4 | 99.4 | 0 | 3.5 | 4 | 3.75 | 0.35355 | 16.2 | 16.8 | 16.5 | 0.42426 | 3.74 | 4.15 | 3.945 | 0.28991 | 2.68 | 2.35 | 2.515 | 0.23335 | - | - | - | - | 107 | 108 | 107.5 | 0.70711 | 5 | 5 | 5 | 0 | - | - | - | - | 0.43984 | - | 0.43984 | - | 1.7342 | 1.6676 | 1.7009 | 0.047105 | 2.4694 | 2.4352 | 2.4523 | 0.024144 | 0.036802 | 0.041928 | 0.039365 | 0.0036239 | 0.12316 | 0.13257 | 0.12786 | 0.0066526 | 0.61877 | 0.73923 | 0.679 | 0.085185 | 4.3349 | 4.8165 | 4.5757 | 0.34054 | 0.30901 | - | 0.30901 | - | 1.2984 | 1.2738 | 1.2861 | 0.01739 | 0.82935 | 0.89802 | 0.86369 | 0.048554 | 0.45706 | 0.47519 | 0.46612 | 0.012819 | - | - | - | - | 0.173 | 0.18161 | 0.1773 | 0.0060909 | 0.92119 | 0.95424 | 0.93772 | 0.023365 | 0.35992 | 0.37926 | 0.36959 | 0.013676 | 0.54204 | 0.54278 | 0.54241 | 0.00052438 | 0.33001 | 0.34246 | 0.33624 | 0.008804 | 1.1845 | 1.2223 | 1.2034 | 0.026728 | 1.3433 | 1.3855 | 1.3644 | 0.029811 | 0.78817 | 0.82906 | 0.80862 | 0.028918 | 1.4634 | 1.4485 | 1.4559 | 0.01052 | 3.195 | 3.4437 | 3.3193 | 0.17584 | 10.5639 | 14.3217 | 12.4428 | 2.6571 | 0 | 0 | 0 | 0 | 0.26754 | 0.25869 | 0.26311 | 0.0062568 | 2.2369 | 2.5015 | 2.3692 | 0.18709 | 1.8901 | 2.3789 | 2.1345 | 0.34564 | 0.38269 | 0.38496 | 0.38383 | 0.001606 | 0.19557 | 0.19902 | 0.19729 | 0.0024368 | 0.79094 | 1.0704 | 0.93066 | 0.1976
18 | 18 | 29_7 | 201 | 3 | Monday | 6 | 7 | 20 | 110.3333 | 7.37 | 7.12 | 7.245 | 0.17678 | 99.4 | 99.4 | 99.4 | 0 | 2 | 2.1 | 2.05 | 0.070711 | 16.7 | 17.6 | 17.15 | 0.6364 | 2.08 | 2.41 | 2.245 | 0.23335 | 3.1 | 3.01 | 3.055 | 0.06364 | 8.7 | 8.77 | 8.735 | 0.049497 | 106 | 108 | 107 | 1.4142 | 5.1 | 5 | 5.05 | 0.070711 | 301.5 | 306.2 | 303.85 | 3.3234 | 0.42637 | 0.47187 | 0.44912 | 0.032179 | 1.7161 | 1.7526 | 1.7343 | 0.02582 | 2.7417 | 2.6963 | 2.719 | 0.032078 | 0.028932 | 0.035698 | 0.032315 | 0.0047846 | 0.11114 | 0.11557 | 0.11335 | 0.0031308 | 0.45321 | 0.53525 | 0.49423 | 0.058012 | 1.9132 | 2.2949 | 2.104 | 0.2699 | 0.29071 | 0.30653 | 0.29862 | 0.011185 | 1.4357 | 1.422 | 1.4288 | 0.0097159 | 0.79614 | 0.81216 | 0.80415 | 0.011326 | 0.42438 | 0.4401 | 0.43224 | 0.011119 | - | - | - | - | 0.15699 | 0.16366 | 0.16032 | 0.004718 | 0.88238 | 0.90651 | 0.89444 | 0.017062 | 0.34626 | 0.36532 | 0.35579 | 0.013477 | 0.53145 | 0.53053 | 0.53099 | 0.00065236 | 0.30673 | 0.31793 | 0.31233 | 0.0079174 | 1.1474 | 1.1712 | 1.1593 | 0.016807 | 1.2703 | 1.3134 | 1.2919 | 0.030441 | 0.73174 | 0.78725 | 0.7595 | 0.03925 | 1.3866 | 1.3918 | 1.3892 | 0.0036795 | 1.6752 | 2.318 | 1.9966 | 0.45451 | 11.1268 | 12.7065 | 11.9166 | - | 0 | 0 | 0 | 0 | 0.18426 | 0.22433 | 0.2043 | 0.02834 | 2.3712 | 2.5982 | 2.4847 | 0.16051 | - | 1.9878 | 1.9878 | - | 0.24074 | 0.32251 | 0.28163 | 0.057815 | 0.35927 | 0.19471 | 0.27699 | 0.11636 | - | 0.63851 | 0.63851 | -
19 | 19 | 29_14 | 194 |  | Monday | 6 | 14 | 0 | 117 | 7.63 | 7.97 | 7.8 | 0.24042 | 99.1 | 99.3 | 99.2 | 0.14142 | 1.6 | 1.8 | 1.7 | 0.14142 | 12.7 | 13.4 | 13.05 | 0.49497 | 3.55 | 3.71 | 3.63 | 0.11314 | 2.63 | 2.64 | 2.635 | 0.0070711 | 9.55 | 9.87 | 9.71 | 0.22627 | 107 | 109 | 108 | 1.4142 | 5.1 | 5.1 | 5.1 | 0 | 300.6 | 305.8 | 303.2 | 3.677 | - | 0.45117 | 0.45117 | - | 1.9086 | 1.7992 | 1.8539 | 0.077378 | 3.1525 | 2.9511 | 3.0518 | 0.14238 | 0.031753 | 0.031282 | 0.031518 | 0.00033346 | 0.11687 | 0.1171 | 0.11698 | 0.00016737 | 0.37517 | 0.4246 | 0.39988 | 0.034948 | 3.989 | 4.3234 | 4.1562 | 0.23646 | 0.29453 | 0.30226 | 0.2984 | 0.0054628 | 1.5799 | 1.5533 | 1.5666 | 0.018855 | 0.81796 | 0.80202 | 0.80999 | 0.011274 | 0.42426 | 0.42737 | 0.42582 | 0.0021962 | - | - | - | - | 0.15323 | 0.15619 | 0.15471 | 0.0020979 | 0.89969 | 0.88687 | 0.89328 | 0.0090663 | 0.3494 | 0.35548 | 0.35244 | 0.0042971 | 0.55453 | 0.52703 | 0.54078 | 0.019443 | 0.30627 | 0.30763 | 0.30695 | 0.00096254 | 1.1768 | 1.1573 | 1.167 | 0.013842 | 1.2835 | 1.2877 | 1.2856 | 0.0030206 | 0.7164 | 0.77473 | 0.74557 | 0.041247 | 1.32 | 1.3937 | 1.3568 | 0.052134 | 1.4104 | 1.7329 | 1.5717 | 0.22804 | 9.516 | 11.5009 | 10.5084 | 1.4035 | 0 | 0 | 0 | 0 | 0.35186 | 0.36903 | 0.36044 | 0.012146 | 2.2264 | 2.623 | 2.4247 | 0.28045 | 2.04 | 2.1595 | 2.0997 | 0.08449 | 0.25324 | 0.26459 | 0.25891 | 0.0080298 | 0.26363 | 0.25243 | 0.25803 | 0.0079197 | 0.97724 | 0.9349 | 0.95607 | 0.02994
20 | 20 | 29_20 | 190.8 | 0.8 | Monday | 6 | 20 | 15 | 123.25 | 8.06 | 8.55 | 8.305 | 0.34648 | 98.8 | 99 | 98.9 | 0.14142 | 1.3 | 1.7 | 1.5 | 0.28284 | 11.9 | 12.5 | 12.2 | 0.42426 | 3.39 | 3.61 | 3.5 | 0.15556 | 3.57 | 3.49 | 3.53 | 0.056569 | 9.77 | 9.97 | 9.87 | 0.14142 | 107 | 108 | 107.5 | 0.70711 | 5.3 | 5.3 | 5.3 | 0 | 300.3 | 303.5 | 301.9 | 2.2627 | - | 0.45322 | 0.45322 | - | 1.9589 | 1.7837 | 1.8713 | 0.12394 | 3.4248 | 3.1662 | 3.2955 | 0.18289 | 0.031126 | 0.02782 | 0.029473 | 0.0023374 | 0.11424 | 0.11695 | 0.1156 | 0.001914 | 0.29853 | 0.34361 | 0.32107 | 0.031878 | 2.7429 | 3.1117 | 2.9273 | 0.2608 | 0.28585 | 0.29401 | 0.28993 | 0.0057658 | 1.6458 | 1.6422 | 1.644 | 0.0025754 | 0.79767 | 0.78903 | 0.79335 | 0.0061096 | 0.40996 | 0.41738 | 0.41367 | 0.0052469 | - | - | - | - | 0.1423 | 0.14725 | 0.14477 | 0.0035014 | 0.87567 | 0.87194 | 0.87381 | 0.0026387 | 0.34206 | 0.35675 | 0.3494 | 0.010388 | 0.55622 | 0.52083 | 0.53853 | 0.025027 | 0.29351 | 0.29771 | 0.29561 | 0.0029677 | 1.1603 | 1.1424 | 1.1513 | 0.012663 | 1.2487 | 1.2584 | 1.2535 | 0.006869 | 0.69811 | 0.76155 | 0.72983 | 0.044856 | 1.3119 | 1.3865 | 1.3492 | 0.052704 | 0.83372 | 1.1668 | 1.0002 | 0.2355 | 3.8244 | 0.50289 | 2.1636 | 2.3486 | 0 | 0 | 0 | 0 | 0.37788 | 0.42473 | 0.4013 | 0.033124 | 0.22794 | 0.28054 | 0.25424 | 0.03719 | 2.0791 | 2.2855 | 2.1823 | 0.14594 | 0.1851 | 0.22825 | 0.20668 | 0.030513 | 0.2869 | - | 0.2869 | - | 1.0399 | 1.1347 | 1.0873 | 0.067065
21 | 21 | 30_9 | 186 |  | Tuesday | 7 | 9 | 0 | 136 | 8.2 | 7.67 | 7.935 | 0.37477 | 98.8 | 98.9 | 98.85 | 0.070711 | 0 | 0 | 0 | 0 | 8 | 9.2 | 8.6 | 0.84853 | 3.38 | 3.41 | 3.395 | 0.021213 | 4.15 | 4.14 | 4.145 | 0.0070711 | 11.22 | 11.25 | 11.235 | 0.021213 | 108 | 109 | 108.5 | 0.70711 | 5.4 | 5.4 | 5.4 | 0 | - | - | - | - | 0.51416 | 0.37266 | 0.44341 | 0.10006 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
22 | 22 | 30_15 | - |  | Tuesday | 7 | 15 | 0 | 142 | 7.57 | 7.8 | 7.685 | 0.16263 | 98.5 | 98.7 | 98.6 | 0.14142 | 0 | 0 | 0 | 0 | 5.5 | 6.3 | 5.9 | 0.56569 | 2.42 | 2.66 | 2.54 | 0.16971 | 3.4 | 3.27 | 3.335 | 0.091924 | 12.39 | 12.29 | 12.34 | 0.070711 | 107 | 108 | 107.5 | 0.70711 | 5.5 | 5.5 | 5.5 | 0 | - | - | - | - | - | 0.38047 | 0.38047 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
23 | 23 | 31_9 | - |  | Wednesday | 8 | 9 | 0 | 160 | 7.47 | 7.39 | 7.43 | 0.056569 | 98 | 98.3 | 98.15 | 0.21213 | 0 | 0 | 0 | 0 | 2.6 | 3.4 | 3 | 0.56569 | 4.38 | 3.71 | 4.045 | 0.47376 | 3.87 | 3.53 | 3.7 | 0.24042 | 14.91 | 15.3 | 15.105 | 0.27577 | 109 | 109 | 109 | 0 | 5.9 | 5.8 | 5.85 | 0.070711 | - | - | - | - | - | 0.29229 | 0.29229 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## Data1
Experiment identification: | IMM_17_11_01_CHO_din
Cell line | CHO
Description | Dinamic CHO to study co-consumption
[13 empty] | After | After | After | When sampling
|  | Lab daily analysis | [9 empty] | OUR | Glcuose addition | Glutamine addition | Feed addition | Bioreactor Volume
| Time (h) | VCD | Viability | Glucose Bio | Lactate Bio | Glutamine Bio | Glutamate Bio | NH4+ | Na+ | K+ | Osmorality | OUR | Glucose add | Glutamine add | Feed add | Volume Bior
| Units | (106 cells/mL) | (%) | (mM) | (mM) | (mM) | (mM) | (mM) | (mM) | (mM) | (mOsm/Kg) | (mmols/L/h) | (mL) | (mL) | (mL) | (mL)
| 0 | 0.165 | 100 | 24.4 | 0 | 4.49 | 1.32 | 0.44 | 107 | 5.4 | - | - | - | 0 | - | -
| 3.6667 | 0.268 | 99.5 | 27.5 | 0 | 4.67 | 1.39 | 0.56 | 105 | 5.3 | - | - | - | 0 | - | -
| 14.0833 | 0.443 | 99.7 | 27.1 | 0 | 4.47 | 1.39 | 0.91 | 105 | 5.4 | - | 0.048437 | - | 0 | - | 258
| 20.9167 | 0.558 | 99.6 | - | - | 4.04 | 1.39 | 1.2 | 105 | 5.4 | 293.9 | 0.081885 | - | 0 | - | 254
| 28.75 | 0.801 | 99.6 | 24 | 5 | 3.79 | 1.41 | 1.57 | 105 | 5.4 | 297.3 | 0.10176 | - | 0 | - | 250
| 37.0833 | 1.06 | 99.8 | 22.9 | 8 | 3.48 | 1.5 | 2.05 | 106 | 5.5 | 300.2 | 0.12744 | - | 0 | - | 246
| 43 | 1.61 | 100 | - | 10.3 | - | 1.59 | 2.4 | 106 | 5.4 | 303.3 | 0.14824 | - | 1.8 | - | 242
| 49.0833 | 1.87 | 99.8 | 20.9 | 11.7 | 4.28 | - | 2.81 | 106 | 5.4 | 303.2 | 0.12988 | - | 0 | - | 239.8
| 54.3333 | 2.56 | 99.9 | 19.1 | 13.2 | 3.68 | 1.62 | 3.21 | 106 | 5.3 | 303.4 | 0.20547 | - | 0 | - | 234
| 61.1667 | 3.13 | 99.8 | 17.2 | 15.8 | 3.21 | - | 3.85 | 107 | 5.3 | 305.3 | 0.28623 | - | 0 | - | 230
| 67 | 3.86 | 99.8 | 14.8 | 17.7 | 2.65 | 1.86 | 4.36 | 106 | 5.1 | 305.4 | 0.25322 | - | 3 | - | 226
| 72.6667 | 4.46 | 99.7 | 12.4 | 19.1 | 4.89 | 1.88 | 4.96 | 106 | 5 | 307.2 | 0.30029 | - | 0 | - | 225
| 77.3333 | 5.42 | 99.6 | 10.8 | 20.1 | 3.63 | 1.88 | 5.58 | 107 | 5 | 305.9 | 0.36973 | - | 3 | - | 218
| 84.1667 | 5.69 | 99.8 | 7.7 | 21.1 | 1.46 | 1.9 | 6.39 | 106 | 4.9 | 305.1 | 0.50117 | - | 0 | - | 217
| 91.1667 | 6.87 | 99.4 | 5.6 | 21 | 3.63 | 2.15 | 7.03 | 108 | 4.9 | 305.9 | 0.48076 | - | 5 | - | 210
| 96.3333 | 7.1 | 99.7 | 4.1 | 20 | 0.91 | 2.36 | 7.23 | 106 | 5 | 300.3 | 0.54414 | - | 0 | - | 211
| 102.25 | 7.32 | 99.4 | 3.5 | 16.2 | 3.74 | 2.68 | - | 108 | 5 | - | 0.43984 | - | 3 | - | 202
| 110.3333 | 7.37 | 99.4 | 2 | 16.7 | 2.08 | 3.1 | 8.7 | 108 | 5.1 | 301.5 | 0.42637 | - | 0 | - | 201
| 117 | 7.63 | 99.1 | 1.6 | 12.7 | 3.55 | 2.63 | 9.55 | 109 | 5.1 | 300.6 | - | - | 0.8 | - | 194
| 123.25 | 8.06 | 98.8 | 1.3 | 11.9 | 3.39 | 3.57 | 9.77 | 108 | 5.3 | 300.3 | - | - | 0 | - | 190.8
| 136 | 8.2 | 98.8 | 0 | 8 | 3.38 | 4.15 | 11.22 | 109 | 5.4 | - | 0.51416 | - | 0 | - | 186
| 142 | 7.57 | 98.5 | 0 | 5.5 | 2.42 | 3.4 | 12.39 | 108 | 5.5 | - | - | - | 0 | - | -
| 160 | 7.47 | 98 | 0 | 2.6 | 4.38 | 3.87 | 14.91 | 109 | 5.9 | - | - | - | 0 | - | -
HPLC SUG/OA
| Time (h) | Glucose | Lactate | Pyruvate | Citrate | Succinate | Glycerol | Formate | Acetate | Fumarate
| Units | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC
| 0 | - | - | - | - | - | - | - | - | -
| 3.6667 | - | - | - | - | - | - | - | - | -
| 14.0833 | - | - | - | - | - | - | - | - | -
| 20.9167 | 21.1644 | 3.6257 | 0.53713 | 0 | 0 | 0.36161 | 0 | 0.26421 | 0.30327
| 28.75 | 21.4187 | 4.8857 | 0.47468 | 0 | 0 | 0.40015 | 0.24549 | 0.51826 | -
| 37.0833 | - | 6.0724 | - | 0 | 0 | 0.59552 | - | - | -
| 43 | - | 7.5178 | 0.30774 | 0 | 0 | 1.0444 | 0.30849 | 0.46237 | 0.28862
| 49.0833 | 17.1623 | 9.7502 | 0.22939 | 0 | 0 | 1.1453 | - | - | 0.34462
| 54.3333 | - | 12.4045 | 0.38837 | 0 | 0 | 1.4929 | 0.54747 | 0.54366 | 0.26708
| 61.1667 | 15.697 | 15.585 | 0.42925 | 0 | 0 | 1.8809 | 0.65392 | 0.5606 | -
| 67 | 14.0983 | 17.4412 | 0.49512 | 0 | 0 | 2.1421 | 0.81469 | 0.3743 | -
| 72.6667 | 11.5705 | 18.7955 | 0.33273 | 0.072349 | 0 | 2.3844 | 0.97328 | 0.63681 | 0.18868
| 77.3333 | 9.907 | 19.5992 | 0.48603 | 0.09473 | 0 | 2.4828 | 1.6815 | 0.91118 | 0.18523
| 84.1667 | 7.2315 | 18.7411 | 0.45083 | 0.13949 | 0 | 2.5262 | 1.3296 | 0.65375 | 0.19471
| 91.1667 | 5.1 | 17.9418 | 0.40654 | 0.18113 | 0 | 2.5967 | 1.5294 | 0.67746 | 0.20763
| 96.3333 | 4.0093 | 16.2311 | 0.4179 | 0.21913 | 0 | 2.5315 | 2.292 | 1.0264 | 0.19299
| 102.25 | 3.195 | 10.5639 | 0.38269 | 0.26754 | 0 | 2.2369 | 1.8901 | 0.79094 | 0.19557
| 110.3333 | 1.6752 | 11.1268 | 0.24074 | 0.18426 | 0 | 2.3712 | - | - | 0.35927
| 117 | 1.4104 | 9.516 | 0.25324 | 0.35186 | 0 | 2.2264 | 2.04 | 0.97724 | 0.26363
| 123.25 | 0.83372 | 3.8244 | 0.1851 | 0.37788 | 0 | 0.22794 | 2.0791 | 1.0399 | 0.2869
| 136 | - | - | - | - | - | - | - | - | -
| 142 | - | - | - | - | - | - | - | - | -
| 160 | - | - | - | - | - | - | - | - | -
HPLC AA
| Time (h) | Aspartic acid | Glutamic acid | Cysteine | Asparagine | Serine | Glutamine | Histidine | Glycine | Threonine | Arginine | Alanine | Tyrosine | Valine | Methionine | Tryptophan | Phenylalanine | Isoleucine | Leucine | Lysine | Proline
| Units | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC
| 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 3.6667 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 14.0833 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 20.9167 | 0.94558 | 1.085 | 0.44973 | 2.9604 | 2.7526 | 3.7951 | 0.59797 | 0.28388 | 1.5249 | - | 0.32302 | 0.53443 | 1.7782 | 0.66453 | 0.70616 | 0.79212 | 1.9167 | 2.485 | 1.6802 | 2.0344
| 28.75 | - | 1.1054 | 0.40965 | 2.7257 | 2.5588 | 3.3211 | 0.56339 | 0.30908 | 1.4417 | 1.1516 | 0.39111 | 0.51056 | 1.6818 | 0.62805 | 0.67854 | 0.74562 | 1.8135 | 2.3537 | 1.5878 | -
| 37.0833 | 1.1115 | 1.2859 | 0.40566 | 2.7922 | 2.6749 | 3.1692 | 0.60155 | 0.38753 | 1.5499 | 1.1167 | 0.56833 | 0.54027 | 1.7892 | 0.66694 | - | 0.79361 | 1.9428 | 2.5034 | 1.7016 | -
| 43 | 1.153 | 1.3139 | 0.37484 | 2.5571 | 2.5071 | 2.7221 | 0.57644 | 0.41685 | 1.4891 | 1.0921 | 0.69103 | 0.50739 | 1.7218 | 0.63958 | 0.68197 | 0.75673 | 1.8681 | 2.4013 | 1.6242 | 2.0073
| 49.0833 | 1.1884 | 1.3174 | 0.32883 | 2.2663 | 2.296 | 4.3398 | 0.54328 | 0.4492 | 1.3982 | 1.0683 | 0.83706 | 0.47652 | 1.6141 | 0.59615 | 0.64549 | 0.70517 | 1.7681 | 2.2562 | 1.517 | 1.9292
| 54.3333 | 1.267 | 1.4044 | 0.30917 | 2.1272 | 2.2395 | 3.3853 | 0.54273 | 0.49848 | 1.4006 | 1.0222 | 1.0594 | 0.46125 | 1.6126 | 0.59477 | 0.66145 | 0.69749 | 1.7811 | 2.2581 | 1.5025 | 1.922
| 61.1667 | 1.2003 | 1.4382 | 0.2569 | 1.7463 | 1.9853 | 2.5482 | 0.49543 | 0.53327 | 1.2956 | 0.95042 | 1.3551 | 0.41144 | 1.4904 | 0.54973 | 0.6338 | 0.63525 | 1.6715 | 2.0961 | 1.3784 | 1.828
| 67 | 1.3084 | 1.5779 | 0.22392 | 1.4603 | 1.873 | 1.8884 | 0.49251 | 0.61248 | 1.2889 | 0.86004 | 1.827 | 0.39235 | 1.4711 | 0.54636 | 0.65288 | 0.61465 | 1.6806 | 2.0873 | 1.3497 | 1.8458
| 72.6667 | 1.2943 | 1.5857 | 0.16301 | 0.98616 | 1.5652 | 4.8261 | 0.43799 | 0.64915 | 1.137 | 0.78752 | 2.4009 | 0.33162 | 1.3002 | 0.4862 | 0.60025 | 0.53113 | 1.5147 | 1.8506 | 1.1749 | 1.6826
| 77.3333 | 1.4634 | 1.7094 | 0.13815 | 0.71959 | 1.4131 | 2.6307 | 0.41555 | 0.70624 | 1.0929 | 0.7169 | 3.2731 | 0.30079 | 1.2366 | 0.46182 | 0.59534 | 0.49581 | 1.467 | 1.7786 | 1.111 | 1.6707
| 84.1667 | 1.4673 | 1.8899 | 0.092325 | 0.3636 | 1.149 | 0.96713 | 0.37933 | 0.82707 | 1.0066 | 0.63409 | 4.8437 | 0.25357 | 1.1318 | 0.425 | 0.5849 | 0.43623 | 1.3849 | 1.6319 | 0.99019 | 1.6258
| 91.1667 | 1.5602 | 2.1049 | 0.060119 | 0.18461 | 0.90938 | 2.3486 | 0.34241 | 0.99234 | 0.91114 | 0.51959 | 6.7693 | 0.20877 | 1.0228 | 0.38879 | 0.56445 | 0.37863 | 1.2859 | 1.4857 | 0.87872 | 1.5214
| 96.3333 | 1.6902 | 2.2632 | 0.047221 | 0.13731 | 0.75599 | 0.67115 | 0.32753 | 1.1536 | 0.88303 | 0.49448 | 7.914 | 0.19179 | 0.97822 | 0.37787 | 0.55658 | 0.35567 | 1.2455 | 1.4219 | 0.83214 | 1.4976
| 102.25 | 1.7342 | 2.4694 | 0.036802 | 0.12316 | 0.61877 | 4.3349 | 0.30901 | 1.2984 | 0.82935 | 0.47519 | - | 0.173 | 0.92119 | 0.35992 | 0.54204 | 0.33001 | 1.1845 | 1.3433 | 0.78817 | 1.4634
| 110.3333 | 1.7161 | 2.7417 | 0.028932 | 0.11114 | 0.45321 | 1.9132 | 0.29071 | 1.4357 | 0.79614 | 0.4401 | - | 0.15699 | 0.88238 | 0.34626 | 0.53145 | 0.30673 | 1.1474 | 1.2703 | 0.73174 | 1.3866
| 117 | 1.9086 | 3.1525 | 0.031753 | 0.11687 | 0.37517 | 3.989 | 0.29453 | 1.5799 | 0.81796 | 0.42737 | - | 0.15323 | 0.89969 | 0.3494 | 0.55453 | 0.30627 | 1.1768 | 1.2835 | 0.7164 | 1.32
| 123.25 | 1.9589 | 3.4248 | 0.031126 | 0.11424 | 0.29853 | 2.7429 | 0.28585 | 1.6458 | 0.79767 | 0.41738 | - | 0.1423 | 0.87567 | 0.34206 | 0.55622 | 0.29351 | 1.1603 | 1.2487 | 0.69811 | 1.3119
| 136 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 142 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 160 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -

## Data2
Experiment identification: | IMM_17_11_01_CHO_din
Cell line | CHO
Description | Dinamic CHO to study co-consumption
[13 empty] | After | After | After | When sampling
|  | Lab daily analysis | [9 empty] | OUR | Glcuose addition | Glutamine addition | Feed addition | Bioreactor Volume
| Time (h) | VCD | Viability | Glucose Bio | Lactate Bio | Glutamine Bio | Glutamate Bio | NH4+ | Na+ | K+ | Osmorality | OUR | Glucose add | Glutamine add | Feed add | Volume Bior
| Units | (106 cells/mL) | (%) | (mM) | (mM) | (mM) | (mM) | (mM) | (mM) | (mM) | (mOsm/Kg) | (mmols/L/h) | (mL) | (mL) | (mL) | (mL)
| 0 | 0.158 | 99.7 | 26.1 | 0 | 4.19 | 1.34 | 0.43 | 107 | 5.4 | - | - | - | 0 | - | -
| 3.6667 | 0.275 | 99.8 | 28.1 | 0 | 4.78 | 1.35 | 0.55 | 104.5 | 5.3 | - | - | - | 0 | - | -
| 14.0833 | 0.426 | 99.4 | 27 | 0 | 4.63 | 1.46 | 0.92 | 105 | 5.4 | - | 0.03291 | - | 0 | - | 258
| 20.9167 | 0.531 | 99.8 | 25 | 2.6 | 4.07 | 1.47 | 1.2 | 105 | 5.5 | 295.4 | 0.04248 | - | 0 | - | 254
| 28.75 | 0.734 | 99.6 | 24.1 | 4.9 | 3.83 | 1.49 | 1.58 | 105 | 5.5 | 297.5 | 0.063574 | - | 0 | - | 250
| 37.0833 | 1.17 | 98.8 | 23.4 | 7.5 | 3.61 | 1.48 | 2.03 | 105.5 | 5.5 | 302.1 | 0.09541 | - | 0 | - | 246
| 43 | 1.71 | 99.7 | - | 10.2 | - | 1.61 | 2.39 | 105.5 | 5.5 | 305.6 | 0.10518 | - | 1.8 | - | 242
| 49.0833 | 2.03 | 99.6 | 21.3 | 11.8 | 4.56 | 1.65 | 2.77 | 105.5 | 5.4 | 305.5 | 0.15205 | - | 0 | - | 239.8
| 54.3333 | 2.86 | 99.7 | 20.1 | 12.9 | 3.88 | - | 3.2 | 105.5 | 5.4 | 306.2 | 0.19727 | - | 0 | - | 234
| 61.1667 | 3.48 | 99.6 | 17.5 | 15.1 | 3.29 | - | 3.81 | 106 | 5.3 | 308.6 | 0.24766 | - | 0 | - | 230
| 67 | 3.6 | 99.7 | 15.8 | 17.5 | 3.03 | 1.81 | 4.36 | 105.5 | 5.2 | 308.2 | 0.25488 | - | 3 | - | 226
| 72.6667 | 4.54 | 99.6 | 13.4 | 19 | 5.04 | 1.75 | 4.96 | 106 | 5 | 308.1 | 0.29717 | - | 0 | - | 225
| 77.3333 | 5.01 | 99.7 | 11.3 | 20.2 | 4.07 | 1.83 | 5.56 | 106 | 5 | 310.2 | 0.33213 | - | 3 | - | 218
| 84.1667 | 6.07 | 99.8 | 8.8 | 21.6 | 2.14 | 1.84 | 6.46 | 105.5 | 5 | 308.9 | 0.5084 | - | 0 | - | 217
| 91.1667 | 7.02 | 99.5 | 5.9 | 21.1 | 4.1 | 2.02 | 7.14 | 107 | 4.9 | 310.3 | 0.46689 | - | 5 | - | 210
| 96.3333 | 7.07 | 99.7 | 4.8 | 20.4 | 1.5 | 2.23 | 7.46 | 105 | 5 | 305.5 | 0.49365 | - | 0 | - | 211
| 102.25 | 7.22 | 99.4 | 4 | 16.8 | 4.15 | 2.35 | - | 107.5 | 5 | - | - | - | 3 | - | 202
| 110.3333 | 7.12 | 99.4 | 2.1 | 17.6 | 2.41 | 3.01 | 8.77 | 107 | 5 | 306.2 | 0.47187 | - | 0 | - | 201
| 117 | 7.97 | 99.3 | 1.8 | 13.4 | 3.71 | 2.64 | 9.87 | 108 | 5.1 | 305.8 | 0.45117 | - | 0.8 | - | 194
| 123.25 | 8.55 | 99 | 1.7 | 12.5 | 3.61 | 3.49 | 9.97 | 107.5 | 5.3 | 303.5 | 0.45322 | - | 0 | - | 190.8
| 136 | 7.67 | 98.9 | 0 | 9.2 | 3.41 | 4.14 | 11.25 | 108.5 | 5.4 | - | 0.37266 | - | 0 | - | 186
| 142 | 7.8 | 98.7 | 0 | 6.3 | 2.66 | 3.27 | 12.29 | 107.5 | 5.5 | - | 0.38047 | - | 0 | - | -
| 160 | 7.39 | 98.3 | 0 | 3.4 | 3.71 | 3.53 | 15.3 | 109 | 5.8 | - | 0.29229 | - | 0 | - | -
HPLC SUG/OA
| Time (h) | Glucose | Lactate | Pyruvate | Citrate | Succinate | Glycerol | Formate | Acetate | Fumarate
| Units | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC
| 0 | - | - | - | - | - | - | - | - | -
| 3.6667 | - | - | - | - | - | - | - | - | -
| 14.0833 | - | - | - | - | - | - | - | - | -
| 20.9167 | 21.4581 | 4.5138 | 0.48035 | 0 | 0 | 0.3353 | 0 | 0.54028 | 0.31619
| 28.75 | 19.9694 | 4.5881 | 0.47354 | 0 | 0 | 0.71099 | 0.20639 | 0.293 | 0.30068
| 37.0833 | - | 6.6907 | - | 0 | 0 | 0.6692 | 0.24115 | - | 0.19988
| 43 | 19.7901 | 7.9929 | 0.32932 | 0 | 0 | 0.86288 | 0.44536 | 0.2659 | -
| 49.0833 | 18.7904 | 9.3694 | 0.23393 | 0 | 0 | 1.0794 | 0.52357 | 0.54028 | 0.27397
| 54.3333 | 18.0532 | 12.0682 | 0.27254 | 0 | 0 | 1.4572 | 0.61916 | 0.60125 | -
| 61.1667 | 16.851 | 14.7313 | 0.38269 | 0 | 0 | 1.7813 | 0.77993 | 0.56399 | 0.19385
| 67 | 14.7839 | 16.6685 | 0.43266 | 0 | 0 | 2.019 | 0.86465 | 0.60125 | -
| 72.6667 | 12.1578 | 16.8406 | 0.45424 | 0.067144 | 0 | 2.1773 | 1.0015 | 0.61141 | 0.19126
| 77.3333 | 9.7704 | 19.9789 | 0.44515 | 0.082239 | 0 | 2.5168 | 2.0182 | 1.2889 | -
| 84.1667 | 8.093 | 19.2229 | 0.45991 | 0.13585 | 0 | 2.561 | 1.3448 | 0.42849 | -
| 91.1667 | 5.6235 | 18.7789 | 0.41903 | 0.17437 | 0 | 2.5536 | 1.5229 | 0.45559 | 0.1904
| 96.3333 | 4.4545 | 17.1614 | 0.39064 | 0.2134 | 0 | 2.6603 | 1.675 | 0.50132 | 0.18437
| 102.25 | 3.4437 | 14.3217 | 0.38496 | 0.25869 | 0 | 2.5015 | 2.3789 | 1.0704 | 0.19902
| 110.3333 | 2.318 | 12.7065 | 0.32251 | 0.22433 | 0 | 2.5982 | 1.9878 | 0.63851 | 0.19471
| 117 | 1.7329 | 11.5009 | 0.26459 | 0.36903 | 0 | 2.623 | 2.1595 | 0.9349 | 0.25243
| 123.25 | 1.1668 | 0.50289 | 0.22825 | 0.42473 | 0 | 0.28054 | 2.2855 | 1.1347 | -
| 136 | - | - | - | - | - | - | - | - | -
| 142 | - | - | - | - | - | - | - | - | -
| 160 | - | - | - | - | - | - | - | - | -
HPLC AA
| Time (h) | Aspartic acid | Glutamic acid | Cysteine | Asparagine | Serine | Glutamine | Histidine | Glycine | Threonine | Arginine | Alanine | Tyrosine | Valine | Methionine | Tryptophan | Phenylalanine | Isoleucine | Leucine | Lysine | Proline
| Units | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC | (mM)-HPLC
| 0 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 3.6667 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 14.0833 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 20.9167 | - | - | - | - | - | - | - | - | - | 1.1806 | - | - | - | - | - | - | - | - | - | -
| 28.75 | 0.99131 | 1.161 | 0.42268 | 2.8974 | 2.6663 | 3.6257 | 0.59181 | 0.31074 | 1.531 | 1.1322 | 0.41523 | 0.52757 | 1.7952 | 0.6517 | 0.67914 | 0.78234 | 1.9259 | 2.4542 | 1.6083 | -
| 37.0833 | 1.0081 | 1.2143 | 0.35197 | 2.7045 | 2.5514 | 3.181 | 0.57099 | 0.36134 | 1.4806 | 1.1471 | 0.54933 | 0.52448 | 1.7245 | 0.63133 | 0.65892 | 0.75677 | 1.8626 | 2.3777 | 1.6105 | 1.9536
| 43 | - | 1.2672 | 0.3853 | 2.5558 | 2.4596 | 2.8282 | 0.5589 | 0.40123 | 1.4632 | 1.107 | 0.684 | 0.50118 | 1.688 | 0.60609 | 0.66168 | 0.7396 | 1.8394 | 2.3413 | 1.5859 | 1.9792
| 49.0833 | - | 1.3215 | 0.32109 | 2.3557 | 2.3851 | - | 0.56276 | 0.45732 | 1.4387 | 1.0547 | 0.86309 | 0.48116 | 1.6616 | 0.61624 | 0.65574 | 0.72255 | 1.8088 | 2.3146 | 1.581 | 1.9203
| 54.3333 | 1.1039 | 1.355 | 0.2902 | 2.1446 | 2.2468 | 3.5241 | 0.53575 | 0.48045 | 1.3829 | 1.0243 | 1.0454 | 0.46453 | 1.5988 | 0.59102 | 0.64479 | 0.6919 | 1.7591 | 2.2327 | 1.5079 | 1.9031
| 61.1667 | 1.1594 | 1.4209 | 0.25784 | 1.8226 | 2.0615 | 2.7831 | 0.50198 | 0.52314 | 1.3218 | 0.9394 | 1.3618 | 0.41986 | 1.5083 | 0.53866 | 0.62662 | 0.64765 | 1.698 | 2.1357 | 1.4215 | 1.8266
| 67 | 1.2261 | 1.4604 | - | - | - | - | - | 0.56938 | - | - | - | - | - | - | - | - | - | - | - | -
| 72.6667 | 1.1594 | 1.5562 | 0.16116 | 1.0972 | 1.6583 | 4.8341 | 0.44914 | 0.62328 | 1.1612 | 0.77674 | 2.291 | 0.34301 | 1.3326 | 0.49752 | 0.61294 | 0.54828 | 1.5469 | 1.8923 | 1.2269 | 1.7189
| 77.3333 | 1.2635 | 1.6384 | 0.13285 | 0.80968 | 1.481 | 2.9201 | 0.42445 | 0.66639 | 1.0855 | 0.71217 | 3.028 | 0.3066 | 1.2513 | 0.47517 | 0.59516 | 0.5027 | 1.478 | 1.7817 | 1.1523 | 1.6044
| 84.1667 | 1.4893 | 1.8469 | 0.092629 | 0.42718 | 1.2537 | 1.3041 | 0.39161 | 0.78147 | 1.0238 | 0.62425 | 4.6117 | 0.26455 | 1.1664 | 0.44715 | 0.58791 | 0.45171 | 1.4185 | 1.6697 | 1.0468 | 1.5917
| 91.1667 | 1.3946 | 1.9486 | 0.058602 | 0.20844 | 0.96383 | 3.0569 | 0.33774 | 0.8823 | 0.88675 | 0.52366 | 6.2669 | 0.20697 | 1.001 | 0.38428 | 0.54304 | 0.37315 | 1.2508 | 1.4445 | 0.87365 | 1.4627
| 96.3333 | 1.5229 | 2.1469 | 0.047695 | 0.14923 | 0.83891 | 0.9514 | 0.32854 | 1.0616 | 0.86492 | 0.49478 | 7.5863 | 0.19321 | 0.9773 | 0.3851 | 0.55077 | 0.35673 | 1.2352 | 1.4142 | 0.84361 | 1.4913
| 102.25 | 1.6676 | 2.4352 | 0.041928 | 0.13257 | 0.73923 | 4.8165 | - | 1.2738 | 0.89802 | 0.46612 | - | 0.18161 | 0.95424 | 0.37926 | 0.54278 | 0.34246 | 1.2223 | 1.3855 | 0.82906 | 1.4485
| 110.3333 | 1.7526 | 2.6963 | 0.035698 | 0.11557 | 0.53525 | 2.2949 | 0.30653 | 1.422 | 0.81216 | 0.43224 | - | 0.16366 | 0.90651 | 0.36532 | 0.53053 | 0.31793 | 1.1712 | 1.3134 | 0.78725 | 1.3918
| 117 | 1.7992 | 2.9511 | 0.031282 | 0.1171 | 0.4246 | 4.3234 | 0.30226 | 1.5533 | 0.80202 | 0.42582 | - | 0.15619 | 0.88687 | 0.35548 | 0.52703 | 0.30763 | 1.1573 | 1.2877 | 0.77473 | 1.3937
| 123.25 | 1.7837 | 3.1662 | 0.02782 | 0.11695 | 0.34361 | 3.1117 | 0.29401 | 1.6422 | 0.78903 | 0.41367 | - | 0.14725 | 0.87194 | 0.35675 | 0.52083 | 0.29771 | 1.1424 | 1.2584 | 0.76155 | 1.3865
| 136 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 142 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
| 160 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -